QUOTATION

SECUREVIEW SYSTEMS

Kochi  |  GSTIN 32ABCDE1234F1Z5 (sample)

QUOTATION NO. QT/2026-27/003     DATE 01 Oct 2026     VALID TILL 11 Oct 2026

Bill To

Lakshmi Textiles, MG Road, Kochi

Subject: Supply and installation of IP CCTV system (6 cameras)

| # | Item | Qty | Unit | Rate (Rs.) | GST | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 4MP IP dome camera, PoE, 30 m IR night vision, indoor | 4 | Nos | 2,450.00 | 18% | 9,800.00 |
| 2 | 4MP IP bullet camera, PoE, 40 m IR, IP67 outdoor | 2 | Nos | 2,750.00 | 18% | 5,500.00 |
| 3 | 8-channel NVR with 8 PoE ports, H.265 | 1 | Nos | 7,800.00 | 18% | 7,800.00 |
| 4 | 2TB surveillance hard disk | 1 | Nos | 5,600.00 | 18% | 5,600.00 |
| 5 | Cat6 cable, copper (estimated, billed as per actual) | 180 | Mtr | 24.00 | 18% | 4,320.00 |
| 6 | PVC conduit, bends, clamps and junction boxes | 1 | Lot | 1,800.00 | 18% | 1,800.00 |
| 7 | RJ45 connectors and boots | 12 | Pcs | 25.00 | 18% | 300.00 |
| 8 | Installation, configuration and mobile app setup | 6 | Points | 650.00 | 18% | 3,900.00 |
| Taxable value |  |  |  |  |  | 39,020.00 |
| GST @ 18% |  |  |  |  |  | 7,023.60 |
| Grand Total |  |  |  |  |  | Rs. 46,044.00 |

Terms & Conditions

• Valid for 10 days. Camera prices may change after that.

• Approx. 8 to 15 days continuous recording on the 2TB disk.

• Warranty: cameras and NVR 2 years, hard disk as per manufacturer.

• Excludes power points, internet connection and civil work.

Bank / UPI details (sample)

Sample Bank, A/c 000123456789, IFSC SAMP0001234

UPI: secureviewsystems@upi

For SecureView Systems

Authorised signatory

Scan to Pay (sample)

Sample for reference. GSTIN, bank and UPI details are made up. Confirm GST rates with your accountant.