QUOTATION
SECUREVIEW SYSTEMS
Kochi  |  GSTIN 32ABCDE1234F1Z5 (sample)
QUOTATION NO. QT/2026-27/003     DATE 01 Oct 2026     VALID TILL 11 Oct 2026
Bill To
Lakshmi Textiles, MG Road, Kochi
Subject: Supply and installation of IP CCTV system (6 cameras)
	#
	Item
	Qty
	Unit
	Rate (Rs.)
	GST
	Amount (Rs.)

	1
	4MP IP dome camera, PoE, 30 m IR night vision, indoor
	4
	Nos
	2,450.00
	18%
	9,800.00

	2
	4MP IP bullet camera, PoE, 40 m IR, IP67 outdoor
	2
	Nos
	2,750.00
	18%
	5,500.00

	3
	8-channel NVR with 8 PoE ports, H.265
	1
	Nos
	7,800.00
	18%
	7,800.00

	4
	2TB surveillance hard disk
	1
	Nos
	5,600.00
	18%
	5,600.00

	5
	Cat6 cable, copper (estimated, billed as per actual)
	180
	Mtr
	24.00
	18%
	4,320.00

	6
	PVC conduit, bends, clamps and junction boxes
	1
	Lot
	1,800.00
	18%
	1,800.00

	7
	RJ45 connectors and boots
	12
	Pcs
	25.00
	18%
	300.00

	8
	Installation, configuration and mobile app setup
	6
	Points
	650.00
	18%
	3,900.00

	Taxable value
	39,020.00

	GST @ 18%
	7,023.60

	Grand Total
	Rs. 46,044.00


Terms & Conditions
• Valid for 10 days. Camera prices may change after that.
• Approx. 8 to 15 days continuous recording on the 2TB disk.
• Warranty: cameras and NVR 2 years, hard disk as per manufacturer.
• Excludes power points, internet connection and civil work.
Bank / UPI details (sample)
Sample Bank, A/c 000123456789, IFSC SAMP0001234
UPI: secureviewsystems@upi
For SecureView Systems
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Scan to Pay (sample)
Sample for reference. GSTIN, bank and UPI details are made up. Confirm GST rates with your accountant.
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