QUOTATION

SHREE GANESH ELECTRICALS

Nagpur  |  GSTIN 27ABCDE1234F1Z5 (sample)

QUOTATION NO. QT/2026-27/005     DATE 01 Oct 2026     VALID TILL 16 Oct 2026

Bill To

Mrs. Priya Deshmukh, Dharampeth, Nagpur

Subject: Complete concealed rewiring of 2BHK flat (42 points)

| # | Item | Qty | Unit | Rate (Rs.) | GST | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | FR copper wire 1.5 sq mm, 90 m coil (lights and fans) | 4 | Coil | 1,950.00 | 18% | 7,800.00 |
| 2 | FR copper wire 2.5 sq mm, 90 m coil (sockets) | 3 | Coil | 3,100.00 | 18% | 9,300.00 |
| 3 | FR copper wire 4 sq mm, 90 m coil (AC and geyser) | 1 | Coil | 4,900.00 | 18% | 4,900.00 |
| 4 | PVC conduit 25 mm, 3 m length, with bends | 40 | Pcs | 85.00 | 18% | 3,400.00 |
| 5 | Modular switches and sockets, 6A and 16A | 38 | Nos | 120.00 | 18% | 4,560.00 |
| 6 | Modular boxes with cover plates | 14 | Nos | 210.00 | 18% | 2,940.00 |
| 7 | 8-way SPN distribution board | 1 | Nos | 2,300.00 | 18% | 2,300.00 |
| 8 | MCB 6A to 32A, single pole | 8 | Nos | 280.00 | 18% | 2,240.00 |
| 9 | RCCB 40A, 30 mA, double pole | 1 | Nos | 2,400.00 | 18% | 2,400.00 |
| 10 | Wiring labour per point, including testing | 42 | Points | 450.00 | 18% | 18,900.00 |
| Taxable value |  |  |  |  |  | 58,740.00 |
| GST @ 18% |  |  |  |  |  | 10,573.20 |
| Grand Total |  |  |  |  |  | Rs. 69,313.00 |

Terms & Conditions

• Wall chasing included; plaster patching and painting excluded.

• Fans, lights and fittings to be supplied by customer.

• Extra points after approval: Rs. 450 per point.

• Workmanship warranty: 1 year from handover.

Bank / UPI details (sample)

Sample Bank, A/c 000123456789, IFSC SAMP0001234

UPI: shreeganeshelectricals@upi

For Shree Ganesh Electricals

Authorised signatory

Scan to Pay (sample)

Sample for reference. GSTIN, bank and UPI details are made up. Confirm GST rates with your accountant.