QUOTATION
SUNPATH ENERGY SOLUTIONS
Coimbatore  |  GSTIN 33ABCDE1234F1Z5 (sample)
QUOTATION NO. QT/2026-27/004     DATE 01 Oct 2026     VALID TILL 16 Oct 2026
Bill To
Mr. R. Karthik, Saibaba Colony, Coimbatore
Subject: Supply and installation of 3.27 kWp on-grid rooftop solar system
	#
	Item
	Qty
	Unit
	Rate (Rs.)
	Amount (Rs.)

	1
	545 Wp mono PERC DCR solar panel
	6
	Nos
	15,200.00
	91,200.00

	2
	3 kW single-phase on-grid inverter with Wi-Fi monitoring
	1
	Nos
	32,000.00
	32,000.00

	3
	Hot-dip GI elevated mounting structure
	3.27
	kWp
	8,500.00
	27,795.00

	4
	DC solar cable 4 sq mm (red + black)
	40
	Mtr
	75.00
	3,000.00

	5
	AC cable 4 sq mm, inverter to ACDB to meter
	25
	Mtr
	95.00
	2,375.00

	6
	ACDB and DCDB with SPD, MCB and isolator
	1
	Set
	6,500.00
	6,500.00

	7
	Chemical earthing kit
	3
	Nos
	2,800.00
	8,400.00

	8
	Lightning arrester with earthing
	1
	Nos
	3,200.00
	3,200.00

	9
	Net metering application and DISCOM liaison
	1
	Job
	3,500.00
	3,500.00

	10
	Installation, testing and commissioning
	1
	Job
	12,000.00
	12,000.00

	Taxable value
	1,89,970.00

	GST @ 5% on 70% (goods portion)
	6,648.95

	GST @ 18% on 30% (services portion)
	10,258.38

	Grand Total
	Rs. 2,06,877.00


Terms & Conditions
• Expected generation: approx. 12 to 14 units/day (annual average).
• Subsidy is credited by the government after commissioning; not deducted from this quotation.
• Payment: 30% with order, 60% on material delivery, 10% after installation.
• Warranty: panels 25-year performance, inverter as per manufacturer, workmanship 5 years.
Bank / UPI details (sample)
Sample Bank, A/c 000123456789, IFSC SAMP0001234
UPI: sunpathenergysolutions@upi
For SunPath Energy Solutions
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Scan to Pay (sample)
Sample for reference. GSTIN, bank and UPI details are made up. Confirm GST rates with your accountant.
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