QUOTATION

SUNPATH ENERGY SOLUTIONS

Coimbatore  |  GSTIN 33ABCDE1234F1Z5 (sample)

QUOTATION NO. QT/2026-27/004     DATE 01 Oct 2026     VALID TILL 16 Oct 2026

Bill To

Mr. R. Karthik, Saibaba Colony, Coimbatore

Subject: Supply and installation of 3.27 kWp on-grid rooftop solar system

| # | Item | Qty | Unit | Rate (Rs.) | Amount (Rs.) |
| --- | --- | --- | --- | --- | --- |
| 1 | 545 Wp mono PERC DCR solar panel | 6 | Nos | 15,200.00 | 91,200.00 |
| 2 | 3 kW single-phase on-grid inverter with Wi-Fi monitoring | 1 | Nos | 32,000.00 | 32,000.00 |
| 3 | Hot-dip GI elevated mounting structure | 3.27 | kWp | 8,500.00 | 27,795.00 |
| 4 | DC solar cable 4 sq mm (red + black) | 40 | Mtr | 75.00 | 3,000.00 |
| 5 | AC cable 4 sq mm, inverter to ACDB to meter | 25 | Mtr | 95.00 | 2,375.00 |
| 6 | ACDB and DCDB with SPD, MCB and isolator | 1 | Set | 6,500.00 | 6,500.00 |
| 7 | Chemical earthing kit | 3 | Nos | 2,800.00 | 8,400.00 |
| 8 | Lightning arrester with earthing | 1 | Nos | 3,200.00 | 3,200.00 |
| 9 | Net metering application and DISCOM liaison | 1 | Job | 3,500.00 | 3,500.00 |
| 10 | Installation, testing and commissioning | 1 | Job | 12,000.00 | 12,000.00 |
| Taxable value |  |  |  |  | 1,89,970.00 |
| GST @ 5% on 70% (goods portion) |  |  |  |  | 6,648.95 |
| GST @ 18% on 30% (services portion) |  |  |  |  | 10,258.38 |
| Grand Total |  |  |  |  | Rs. 2,06,877.00 |

Terms & Conditions

• Expected generation: approx. 12 to 14 units/day (annual average).

• Subsidy is credited by the government after commissioning; not deducted from this quotation.

• Payment: 30% with order, 60% on material delivery, 10% after installation.

• Warranty: panels 25-year performance, inverter as per manufacturer, workmanship 5 years.

Bank / UPI details (sample)

Sample Bank, A/c 000123456789, IFSC SAMP0001234

UPI: sunpathenergysolutions@upi

For SunPath Energy Solutions

Authorised signatory

Scan to Pay (sample)

Sample for reference. GSTIN, bank and UPI details are made up. Confirm GST rates with your accountant.